## CC Risk Assessment 2021
SES Water - Climate Change Risk Assessment 2021 | [9 empty] | Atkins 02/11/2021
|  |  | Scoring before controls |  |  | Scoring after controls
Key climate risks (and related CCRA2 risk code) | Major cause of climate risk | SESW’s Understanding of the risk | Likelihood of occurring to SESW | Magnitude of impact on SESW services | Risk Score | Likelihood of occurring to SESW | Magnitude of impact on SESW services | Risk Score | Examples of actions taken to manage current risks / existing controls | Examples of actions planned to manage future risks | Reporting and metrics | Relevant Performance Commitments (PCs) (based on PR19) | Examples of potential financial implications
|  | H/M/L | 1-5 | 1-5 | 1-25 | 1-5 | 1-5 | 1-25
Risks to water quality and natural capital (Pb13 & Ne1) | High temperature / changing climate conditions drives algal blooms and microbial growth polluting water and damaging assets | L/M | 4 | 4 | 16 | 4 | 2 | 8 | • Catchment management activities and partnerships (land owners, councils, sewerage companies, EA etc.) • Selectivity in water sources, interconnectivity in supply • Abstraction Protocol • Water treatment systems • Water quality monitoring • Environmental monitoring • Incident Management Plan • Implementing WINEP schemes • Habitat surveys • Biodiversity Action Plan for SESW sites • Biodiversity Benchmarking awarded certificate from the Wildlife Trust • Air curtain at Bough Beech reservoir • 70% of customers currently receive water from more than one water treatment works • Temporary water supplies available to customers in case of loss of service • Partnership working and catchment management enhanced through SESW’s Environmental Scrutiny Panel • Communication and education campaigns about pollution and health catchments • Silt traps on River Wandle to capture debris and pollution from roads | • Continuing catchment management programmes • INNS survey to direct future work • Continuing work towards the Wildlife Trust commitment to biodiversity award to obtain the final two certificates • Potential to consider additions and enhancements to water treatment processes • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 • WRMP19 • Drought Plan 2019 & 2021 • Biodiversity Action Plan | • Water quality compliance (CRI) • Water supply interruptions • Unplanned outage • Customer experience (C-MeX) • Customer concerns about their water (taste, odour and discolouration contacts) • Abstraction incentive mechanism • Land based improvement – biodiversity • River based improvement - delivery of WINEP • WINEP Delivery • Risk of supply failures | • Increased costs to treat water of lower quality • Increased costs of environmental and water quality monitoring • Increased maintenance/costs to treat/remove INNS • Increased costs to provide water from secondary source • Operational costs to manage an event (response personnel, electricity/fuel) • Potential costs for deploying temporary water supplies • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties • Impacts on leisure users of Bough Beech reservoir • Decline in Natural Capital
| High temperature / changing climate conditions drives invasive and non-native species (INNS) polluting water and damaging assets | L/M | 5 | 3 | 15 | 3 | 2 | 6
| High precipitation and storms cause increased runoff (from roads, farms etc.) polluting water supplies | M | 5 | 5 | 25 | 4 | 3 | 12
| High precipitation and storms cause sewers to leak and overflow, polluting water supplies | M | 5 | 5 | 25 | 4 | 3 | 12
| High temperature / changing climate conditions drives land use change and increases risk of water pollution | L | 4 | 3 | 12 | 3 | 2 | 6
| High temperature and low precipitation cause natural environment/ecology to decline, impacting water quality (decline in natural capital) | L/M | 4 | 4 | 16 | 3 | 3 | 9
| Changing climate increases wildfires, driving increase in diffuse pollution impacting water quality | L | 3 | 3 | 9 | 3 | 2 | 6
Risks from droughts and high water demand (In9) | High temperature & low precipitation cause low river flows, low aquifer recharge, low reservoir levels | H | 4 | 5 | 20 | 2 | 4 | 8 | • Demand management and water efficiency measures • Leakage reduction programme • AMR Metering programme • Pressure management during high demand periods on localised basis • Drought Plan - public messaging, temporary use bans, pressure management, drought permits • WRMP based on resilience to 1-in-200 year drought • Selectivity in water sources, interconnectivity in supply • Engagement with customers with high water consumption i.e. golf courses, Gatwick • Scenario testing to explore impact of reducing abstractions in environmentally sensitive catchments • Education and awareness programme with customers | • Demand management and water efficiency strategy including customer engagement • Leakage reduction strategy • Metering programme increasing smart metering • WRMP24 delivering 1-in-500 year drought resilience by 2040 using adaptive planning – including consideration of different scenarios (med and high emissions) • Collaborative water resource management planning - Water Resources South East • Potential regional water transfers • Potential to consider variable tariffs to incentivise efficient use • Piloting rainwater harvesting and greywater recycling • Supply options if required in future: feasibility and environmental impact studies on new or existing boreholes in the River Mole and Medway catchments | • Business Plan 2019 • WRMP19 • Drought Plan 2019 & 2021 | • Water quality compliance (CRI) • Water supply interruptions • Leakage • Per capita consumption • Mains repairs • Unplanned outage • Risk of severe restrictions in a drought • Customer experience (C-MeX) • Customer concerns about their water (taste, odour, discolouration) • Greenhouse gas emissions • Abstraction incentive mechanism • Risk of supply failures | • Increased costs to treat water of lower quality • Increased costs to pump water around the region • Increased costs for demand management measures • Increased costs of pumping during peak times (peak electricity costs) • Increased wear on assets, increased maintenance • Potential capital costs for additional water resources • Costs for drought communications and customer engagement • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
| High temperature & low precipitation lead to reduced abstraction allowance in response to environmental impacts | M | 3 | 4 | 12 | 2 | 3 | 6
| High temperature (heatwaves) & low precipitation cause high water demand (household and/or non-household), and potential network capacity constraints | M | 5 | 4 | 20 | 3 | 3 | 9
| Wildfires and urban fires lead to high water demand, and potential network capacity constraints | L | 3 | 2 | 6 | 3 | 2 | 6
| Changing climate conditions drive land use change and increases water demand | L/M | 4 | 3 | 12 | 3 | 2 | 6
Risks to assets from subsidence (In8) | High temperature & low precipitation causing land to subside and assets to fail (soil moisture deficit) | L | 5 | 4 | 20 | 4 | 3 | 12 | • Targeted asset renewal based on burst history and predictive preventative maintenance • Active leakage control • Reservoir safety inspections classify Bough Beech as low risk. Piezometers monitor ground movement and are inspected every 3 months. Yearly assessment of 3-monthly data, full assessment every 10 years. • Modelling of soil moisture deficits to proactively predict ground movement and potential asset failure • Borehole surveys • 70% of customers currently receive water from two water treatment works | • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 | • Water quality compliance (CRI) • Water supply interruptions • Leakage • Mains repairs • Unplanned outage • Customer experience (C-MeX) • Customer concerns about their water (taste, odour, discolouration) • Pollution incidents • Risk of supply failures | • Increased costs to repair/replace assets • Increased costs to provide water from secondary source • Operational costs to manage an event (response personnel, electricity/fuel) • Potential costs for deploying temporary water supplies • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
| High temperature & low precipitation causing failure of earth-fill embankment impounding reservoir | L | 2 | 5 | 10 | 1 | 4 | 4
Risks to assets from flooding (In2) | High precipitation causes river, surface water and/or groundwater flooding of assets | L/M | 4 | 5 | 20 | 3 | 3 | 9 | • Flood risk assessments • Temporary deployable flood protections • Incident Management Plan • Flood resilience work undertaken at some critical sites • 70% of customers currently receive water from more than one water treatment works • Temporary water supplies available to customers in case of loss of service | • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 | • Water quality compliance (CRI) • Water supply interruptions • Mains repairs • Unplanned outage • Customer experience (C-MeX) • Customer concerns about their water (taste, odour, discolouration) • Greenhouse gas emissions • Water Softening • Risk of supply failures | • Increased costs to repair/replace assets • Capital costs to enhance flood resilience at sites • Increased costs to provide water from secondary source • Potential costs for deploying temporary water supplies • Operational costs to manage flooding during an extreme event (response personnel, electricity/fuel) • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
Risks to assets from high river flows and bank erosion (In5) | High precipitation causes river-bank erosion impacting assets | L | 3 | 4 | 12 | 3 | 3 | 9 | • Incident Management Plan/ Emergency Procedures Manual. • Alternative water supply procedures (Blue Book for strategic assets) for loss of assets • Incident response exercises (simulations) • Strategic mains reinforcements for key river crossings • 70% of customers currently receive water from more than one water treatment works • Temporary water supplies available to customers in case of loss of service | • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 | • Water quality compliance (CRI) • Water supply interruptions • Leakage • Mains repairs • Customer experience (C-MeX) • Customer concerns about their water (taste, odour, discolouration) • Greenhouse gas emissions • Pollution incidents • Risk of supply failures | • Increased costs to repair/replace assets • Capital costs to enhance flood resilience at sites • Increased costs to provide water from secondary source • Operational costs to manage an event (response personnel, electricity/fuel) • Potential costs for deploying temporary water supplies • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
Risk of household water supply interruptions (Pb14) | Extreme weather events (windstorms, thunderstorms, freeze thaw) cause failures in the production network | L | 4 | 3 | 12 | 3 | 2 | 6 | • Targeted asset renewal based on burst history and predictive preventative maintenance • Advance pressure control • Network calming and optimisation • Incident Management Plan • Temporary water supplies available to customers in case of loss of service • Ventilation installed on critical electrical and communications equipment • Insulation on above ground equipment – surge vessels, generators • Majority of critical equipment located in kiosks and buildings • Improved remote monitoring of assets enhances visibility for operators, enhances response • 70% of customers currently receive water from more than one water treatment works • Lightning protection for some assets • Critical spares • Option to operate in manual if control disruptions | • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 • WRMP19 | • Water quality compliance (CRI) • Water supply interruptions • Mains repairs • Unplanned outage • Customer experience (C-MeX) • Customer concerns about their water (taste, odour, discolouration) • Greenhouse gas emissions • Pollution incidents • Risk of supply failures | • Increased costs to repair/replace assets • Increased costs to provide water from secondary source • Operational costs to manage an event (response personnel, electricity/fuel) • Potential costs for deploying temporary water supplies • Capital costs to enhance weather resilience at sites • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
| Extreme weather events (windstorms, thunderstorms, freeze thaw) cause failures in the distribution network | M | 5 | 4 | 20 | 3 | 3 | 9
| High temperatures cause assets to fail in the production and distribution network | L | 4 | 3 | 12 | 3 | 2 | 6
| Wildfires cause assets to fail in the production and distribution network | L | 3 | 3 | 9 | 3 | 2 | 6
Risks from failure of inter-dependencies (In1) | Climate-induced disruptions to energy & telecoms (caused by heatwaves, flooding, extreme weather, wildfires) | L | 4 | 4 | 16 | 4 | 2 | 8 | • Incident Management Plan • Backup power at key sites to manage risks of energy supply interruption e.g. automatic generators • Backup communications at critical sites, 4G mobile backup on logging devices • Temporary water supplies available to customers in case of loss of service • Onsite surplus storage of critical chemicals • Onsite storage of critical spares • Onsite surplus storage available for sludge/ waste • Mutual aid schemes with other water companies for critical supplies • Supply chain resilience enhancements as a result of Brexit and Covid19 • Remote monitoring and control helps to reduce reliance on travel to sites | • Trialling Hydrotreated Vegetable Oil (HVO) in generators, looking at batteries for longer term solution to provide back-up • Interconnecting the network: all customers will be able to receive water from more than one water treatment works by 2025 | • Business Plan 2019 | • Water supply interruptions • Unplanned outage • Customer experience (C-MeX) • Greenhouse gas emissions • Risk of supply failures | • Increased costs to provide back-up/ redundancy of services and critical supplies • Operational costs to manage an event (response personnel, electricity/fuel) • Potential costs for deploying temporary water supplies • Potential compensation payments to customers • Potential failure to achieve ODIs / penalties
| Climate-induced disruption to supply of critical materials and equipment (e.g. chemicals), access to sites, or waste management systems | L | 4 | 4 | 16 | 3 | 3 | 9

## Risk Scoring Methodology
From SES Water document: QESP6 Risk and Opportunity Management V4
|  | Time horizons |  | Year
|  | 30 | years | 2050
SESW Turnover 2020 |  | 50 | years | 2080
70000000
frequency
up to |  | up to
700000 |  | 1.5 | in 30 years
|  | 2.5 | in 50 years
frequency
up to |  | up to
1400000 |  | 3 | in 30 years
|  | 5 | in 50 years
up to |  | frequency
3500000 |  | up to
|  | 15 | in 30 years
|  | 25 | in 50 years
up to |  | frequency
4900000 |  | up to
|  | 22.5 | in 30 years
|  | 37.5 | in 50 years
more than |  | frequency
4900000 |  | more than
|  | 22.5 | in 30 years
|  | 37.5 | in 50 years

## Level of Risk Understanding
Defined by Atkins in consultation with SES Water
Level of understanding the risk
Depends on:
· Analysis of the risk
o SESW's level of analysis and evidence related to the risk and the impact on SESW's business
o Consideration of latest climate projections – whether SESW’s analysis is based on the latest UKCP18 projections
· General uncertainty
o Time horizon for the risk eventuating - short term risks are more certain
o Climate variable - more certainty over temperature projections than rainfall projections, less certainty about storms
Understanding of the risk | Analysis of the risk | Uncertainty
Low | SESW is yet to complete analysis related to the risk and the impact on SESW's business. Further investigation would be required to develop a good understanding of how climate change increases the risk. | There is greater uncertainty about the risk over the long term, and greater uncertainty over how climate change may increase the risk.
Med | SESW has completed analysis related to the risk and the impact on SESW's business. SES Water has a reasonable understanding of how climate change increases the risk (for example, use of UKCP09 climate projections). | There is moderate uncertainty about the risk over the long term, and moderate uncertainty over how climate change may increase the risk.
High | SESW has completed analysis related to the risk and the impact on SESW's business, including considering UKCP18 climate projections. SES Water has a good understanding of how climate change increases the risk. | There is lower uncertainty about the risk over the long term, and lower uncertainty over how climate change may increase the risk.